## Stats
NONE | RFR or APS Files
NONE | RTR File
NONE | RSR File
| Overall | Details | Comments
190 | Number of Tubes Tested (initial only - no re-runs) | initial run tubes only so excludes re-runs | unless otherwise specified - all data from gsheet: Data Stats - Compilation PRE DP - Compilation tab (APS RAW data not available)
191 | Number of Tube Tests Run (includes re-runs) | includes re-runs
3 | Number of Initial Runs |  | 4 - 2 bunk and 2 plate runs (6-28, 6-30, and 7-29)
190 | Number of APS Only Tubes run
193 | Number of Test Reactions (RFR plus APS only tubes run) | includes technical replicates (the same tube sample in multiple reactions in the same run)
696 | Number of Participant Results | counts individual samples in pools and excludes re-runs | from Compilation data
0 | Number of ARF Tubes | tubes run and present in RFR but not in Appivo - created tube IDs that start with ARF
696 | Sum of Participant Results plus ARF Tubes | Will be equal to the number of tubes tested if no pooling.
3.6632 | Average Pool Level (excludes ARF)
| Re-runs | section
1 | Number of Run Tubes (re-runs only) | from RFR Audit Num Run Tubes | Assume one initial inconclusive tube was rerun and not included in 190 in Compilation because that was from Appivo data
3 | Number of Reactions (re-runs only) | from RFR Audit Num rxns (excl ctrls) | Assume rerun was in triplicate
0.5263% | Re-run % of Tubes | re-run / initial
1 | Number of Initial Runs with Re-runs
33.33% | % Initial Runs with Re-runs
| Positives | section |  |  | Number of Tubes with FL Result | Number of Test Person/Cluster Cases | Number with Ref or Corresp | Agree with Ref or Corresp | % Agree | Disagree with Ref or Corresp | % Disagree
2 | Number of Tubes with Final Result Positive |  |  | Positive | 2 | 1 | 1 | 1 | 100% | 0 | 0%
1.053% | % of Tubes Positives (Final Result)
1 | Number of Cases with Final Result Positive (Indiv or Pool) | Subtract off Re-tests | [5 empty] | Ref/Cor Pos | % Incl > Pos | Ref/Cor Neg | % Incl > Neg
1 | Known Positive Cases | Previous tested (including by FloodLAMP test) or reported positive | tested twice once on 6-28 in bunk run and other on 6-30 in plate full camp run | Inconclusive | 0 | 0 | 0 | 0 |  | 0
0 | Unknown Positive Cases
| Inconclusives | section
0 | Number of Tubes with Final Result Inconclusive
0 | Number of Tubes in RFR Audit Inconclusive not in Appivo Final Results
0 | Total Number of Inconclusive Tubes
0% | % of Tubes Inconclusive
0 | Number of Inconclusive Tubes resolved Positive by Referral Test or Correspondence
| % Inconclusives resolved Positive by Referral Tests |  | denom zero
0 | Number of Inconclusive Tubes with Referral Test or Correspondence Negative
0 | Number of Inconclusive Tubes with no Referral Test result or Correspondence
1 | Number of Tubes with Initial Inconclusives and Re-run Negative | Count Result Correction Code=2.5 in preDel col AJ, or from RFR preExcl if not resulted as Incl in App
1 | Number of Inconclusive Test Run Calls | includes re-runs - from RFR Audit only and excludes any APS only resulted inconclusives
0.5236% | % Tube Tests Run Called Inconclusive | includes re-runs
| Referrals and Correspondence | section
1 | Number of FloodLAMP Cases with Referral Tests or Correspondence | Indiv or Pool, Cases used instead of Person to account for people being contracting COVID multiple times, and instead of Results to exclude re-tests
1 | Number of Referral Confirmed FloodLAMP Positives | Sometimes also termed Agree Positives - Include initial Inconclusive with Referral or Correspondence Positive
0 | FL Inconclusives with Referral / Correspondence Positive
100% | % FloodLAMP Positive or Inconclusive with Referral / Correspondence Positive
0 | FL Inconclusives but Referral / Correspondence Negative
1 | FL Inconclusives with No Referral Tests or Correspondence
| Comparison to Antigen | section
1 | Number of FloodLAMP Test Person Cases with Referral Antigen Tests (including non-Same Day) |  |  | Based on emails from 6-26-2021 "negative by Binax Ag on Friday but positive by PCR"
1 | Number of FloodLAMP Test Person Cases with Same Day Referral Antigen Tests
100% | Number of FloodLAMP Positive Test Person Cases with Same Day Antigen Negative | Agree with Referral Test Positive (usually PCR or later Antigen) but Initial Antigen Negative
100% | % Confirmed FloodLAMP Positives with Same Day Antigen Negative
0% | Number of FloodLAMP Positive Test Person Cases confirmed with Referral Tests but Antigen and Other Non-Antigen Test Negative
0% | % Confirmed FloodLAMP Positives that were Antigen and Other Non-Antigen Test Negative
| False Calls | section
0 | False Positives Final Results | From reviewing APS/Pos and Incl tab Unconfirmed FL Positives
0 | False Negative Final Results (Suspected) | From reviewing Referral Tests by Person and correspondence with Program Admin
| People | section
342 | Number of Unique Individuals Tested | Includes UnknownPerson additions but not ARF tubes | Equal to number of participants in 89 tubes in KENT_2021-06-30_App data import 6-30 8:30am
10 | Number of Unique Sponsors | People who collect using the app
| Positivity | section
1 | Number of Unique Individual Tested FloodLAMP Positive | includes Inconclusive FloodLAMP result confirmed Positive by follow-up or Referral
0.2924% | % of Population FloodLAMP Positive (excluding pools not deconv)
1 | Number of Unique Individual Tested FloodLAMP Positive (including if in a positive pool)
0.2924% | % of Population FloodLAMP Positive (including everyone in a positive pool)
| Dates | section
2021-06-28 | Start Run Date
2021-07-29 | End Run Date
| Info | section
Volunteers, Camp Staff | Test Operator | Who ran the actual testing (running LAMP reactions)
On Site Room | Test Processing Site | Where the test processing (running LAMP reactions) was done
Young Adult Campers, Staff | Population Tested | Description of the participants
Standard | Configuration | Equipment set used for test processing (relates to throughput and type of test tube used)
Pooled | Collection Type | Pooled, Individual, or Both
HCW | Self or HCW Collected | HCW is Health Care Worker
Yes | App Used? | Was the FloodLAMP Mobile App and Admin Portal utilized in the program
Remote (NSVD) | Bring-up Type | How the initial setup and validation of the testing site was done
Kent | Program Name | Shorthand name used internally at FloodLAMP and in other documents for this program
Camp Kenmont | Site | Broader physical space where the testing was done and/or where participants congregated
Youth Camp | Site Type | Type of entity or organization receiving the testing program
Kent, CT | Location | Geographical location of where the FloodLAMP testing program occurred

## Weekly
Week Start Date | Week End Date | Weekly Participants 190 | Weekly Tubes Run 696 | Weekly Positive Tubes 2 | Weekly Inconclusive Tubes 0 | % Positive
2021-06-28 | 2021-07-04 | 105 | 374 | 2 | 0 | 0 | Mon | 2 runs (bunk and plate)
2021-07-05 | 2021-07-11
2021-07-12 | 2021-07-18
2021-07-19 | 2021-07-25
2021-07-26 | 2021-08-01 | 85 | 322 | 0 | 0 | 0 |  | 1 run (plate)