## Stats Compilation
| NONE | NDHM_RFR_deID_PUB | NONE | NONE | NONE | FLMP_RFR_deID_PUB | RFR File | NONE | COMB_RFR_deID_PUB | BEND_RFR_deID_PUB | ABRM_RFR_deID_PUB | RFR File
| NONE | NONE | NONE | NONE | DAVI_RTR_PHI_v2.0 | FLMP_RTR_deID_PUB | RTR File | NONE | COMB_RTR_deID_PUB | NONE | ABRM_RTR_deID_PUB | RTR File
| ROSA_RSR_deID_PUB | NONE | NONE | NONE | NONE | NONE | RSR File | COSP_RSR_deID_PUB | NONE | NONE | NONE | RSR File
Aggregate | ROSA | NDHM | KENT | FTFC | DAVI | FLSP | CRLN | COSP | COMB | BEND | ABRM | Overall | Details
16209 | 781 | 80 | 190 | 61 | 2279 | 524 | 1016 | 7146 | 1981 | 772 | 1379 | Number of Tubes Tested (initial only - no re-runs) | initial run tubes only so excludes re-runs
16484 | 781 | 85 | 191 | 61 | 2279 | 532 | 1086 | 7146 | 2012 | 792 | 1519 | Number of Tube Tests Run (includes re-runs) | includes re-runs
795 | 53 | 15 | 3 |  | 50 | 164 | 79 | 123 | 80 | 44 | 184 | Number of Initial Runs
8727 | 781 | 0 | 190 |  | 0 | 325 | 111 | 7146 | 63 | 11 | 100 | Number of APS Only Tubes run
17096 | 781 | 109 | 193 | 61 | 2279 | 785 | 1130 | 7146 | 2060 | 822 | 1730 | Number of Test Reactions (RFR plus APS only tubes run) | includes technical replicates (the same tube sample in multiple reactions in the same run)
37706 | 781 | 190 | 696 | 195 | 4409 | 1059 | 2340 | 22643 | 1672 | 767 | 2954 | Number of Participant Results | counts individual samples in pools and excludes re-runs
386 | 0 | 2 | 0 | 0 | 0 | 0 | 48 | 0 | 309 | 5 | 22 | Number of ARF Tubes | tubes run and present in RFR but not in Appivo - created tube IDs that start with ARF
38092 | 781 | 192 | 696 | 195 | 4409 | 1059 | 2388 | 22643 | 1981 | 772 | 2976 | Sum of Participant Results plus ARF Tubes | Will be equal to the number of tubes tested if no pooling.
2.383 | 1 | 2.4 | 3.7 | 3.2 | 1.9 | 2 | 2.4 | 3.2 | 1 | 1 | 2.2 | Average Pool Level (excludes ARF)
|  |  |  | No Re-runs | No Data |  |  | Not Applicable - No RFR |  |  |  | Re-runs | section
275 |  | 5 | 1 |  |  | 8 | 70 |  | 31 | 20 | 140 | Number of Run Tubes (re-runs only) | from RFR Audit Num Run Tubes
705 |  | 18 | 3 |  |  | 25 | 205 |  | 96 | 27 | 331 | Number of Reactions (re-runs only) | from RFR Audit Num rxns (excl ctrls)
1.697% |  | 6.3% | 0.5% |  |  | 1.5% | 6.9% |  | 1.6% | 2.6% | 10.2% | Re-run % of Tubes | re-run / initial
148 |  | 3 | 1 |  |  | 6 | 31 |  | 19 | 10 | 78 | Number of Initial Runs with Re-runs
18.62% |  | 20% | 33% |  |  | 4% | 39% |  | 24% | 23% | 42% | % Initial Runs with Re-runs
|  |  |  | No Positives | [7 empty] | Positives | section
884 | 1 | 0 | 2 | 0 | 384 | 25 | 32 | 347 | 14 | 71 | 8 | Number of Tubes with Final Result Positive
5.454% | 0.1% |  | 1.1% | 0% | 16.8% | 4.8% | 3.1% | 4.9% | 0.7% | 9.2% | 0.6% | % of Tubes Positives (Final Result)
87 | 1 | 0 | 1 | 0 |  | 6 | 13 |  | 12 | 51 | 3 | Number of Cases with Final Result Positive (Indiv or Pool) | Subtract off Re-tests
337 | 0 | 0 | 1 | 0 | 329 | 0 | 3 |  | 2 | 0 | 2 | Known Positive Cases | Previous tested (including by FloodLAMP test) or reported positive
134 | 1 | 0 | 0 | 0 | 55 | 6 | 10 |  | 10 | 51 | 1 | Unknown Positive Cases
|  |  |  | No Inconclusives | [7 empty] | Inconclusives | section
14 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 3 | 2 | 3 | Number of Tubes with Final Result Inconclusive
3 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 3 | 0 | Number of Tubes in RFR Audit Inconclusive not in Appivo Final Results
17 | 0 | 0 | 0 | 0 | 1 | 0 | 4 | 1 | 3 | 5 | 3 | Total Number of Inconclusive Tubes
0.1049% | 0% |  | 0% | 0% | 0% | 0% | 0.4% | 0% | 0.2% | 0.6% | 0.2% | % of Tubes Inconclusive
4 | 0 | 0 | 0 | 0 |  | 0 | 1 | 0 | 2 | 1 | 0 | Number of Inconclusive Tubes resolved Positive by Referral Test or Correspondence
23.53% |  |  |  |  | 0% |  | 25% | 0% | 67% | 20% | 0% | % Inconclusives resolved Positive by Referral Tests
3 | 0 | 0 | 0 | 0 |  | 0 | 1 |  | 0 | 2 | 0 | Number of Inconclusive Tubes with Referral Test or Correspondence Negative
9 | 0 | 0 | 0 | 0 | 1 | 0 | 2 |  | 1 | 2 | 3 | Number of Inconclusive Tubes with no Referral Test result or Correspondence
68 | 1 | 3 | 1 | 0 |  | 3 | 33 | 12 | 4 | 7 | 4 | Number of Tubes with Initial Inconclusives and Re-run Negative | Count Result Correction Code=2.5 in preDel col AJ, or from RFR preExcl if not resulted as Incl in App
159 | 1 | 4 | 1 | 0 | 26 | 3 | 40 | 12 | 12 | 12 | 48 | Number of Inconclusive Test Run Calls | includes re-runs - from RFR Audit only and excludes any APS only resulted inconclusives
0.9646% | 0.1% | 4.7% | 0.5% | 0% | 1.1% | 0.6% | 3.7% | 0.2% | 0.6% | 1.5% | 3.2% | % Tube Tests Run Called Inconclusive | includes re-runs
|  | No Positives | [5 empty] | Not Available |  |  |  | Referrals and Correspondence | section
127 | 1 | 0 | 1 | 0 | 44 | 5 | 10 | 0 | 12 | 53 | 1 | Number of FloodLAMP Cases with Referral Tests or Correspondence | Indiv or Pool, Cases used instead of Person to account for people being contracting COVID multiple times, and instead of Results to exclude re-tests
121 | 1 | 0 | 1 | 0 | 43 | 5 | 9 | 0 | 10 | 51 | 1 | Number of Referral Confirmed FloodLAMP Positives | Sometimes also termed Agree Positives - Include initial Inconclusive with Referral or Correspondence Positive
4 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 1 | 0 | FL Inconclusives with Referal / Correspondence Positive
98.43% | 100% |  | 100% |  | 98% | 100% | 100% |  | 100% | 98% | 100% | % FloodLAMP Positive or Inconclusive with Referral / Correspondence Positive
2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 1 | 0 | FL Inconclusives but Referral / Correspondence Negative
12 | 1 | 0 | 1 | 0 | 1 | 0 | 2 |  | 1 | 3 | 3 | FL Inconclusives with No Referral Tests or Correspondence
|  | Not Applicable |  | Not Applicable |  |  |  | Not Available |  | Only PCR Referral Testing |  | Comparison to Antigen | section
68 | 1 |  | 1 |  | 44 | 3 | 8 |  | 11 |  | 0 | Number of FloodLAMP Test Person Cases with Referral Antigen Tests (including non-Same Day)
62 | 1 |  | 1 |  | 38 | 3 | 8 |  | 11 |  | 0 | Number of FloodLAMP Test Person Cases with Same Day Referral Antigen Tests
15 | 0 |  | 100% |  | 4 | 1 | 4 |  | 5 |  | 0 | Number of FloodLAMP Positive Test Person Cases with Same Day Antigen Negative | Agree with Referral Test Positive (usually PCR or later Antigen) but Initial Antigen Negative
| 0% |  | 100% |  | 11% | 33% | 50% |  | 45% |  |  | % Confirmed FloodLAMP Positives with Same Day Antigen Negative
1 | 0 |  | 0% |  | 0 | 1 | 0 |  | 0 |  | 0 | Number of FloodLAMP Positive Test Person Cases confirmed with Referral Tests but Antigen and Other Non-Antigen Test Negative
| 0% |  | 0% |  | 0% | 33% | 0% |  | 0% |  |  | % Confirmed FloodLAMP Positives that were Antigen and Other Non-Antigen Test Negative
[12 empty] | False Calls | section
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | False Positives Final Results | From reviewing APS/Pos and Incl tab Unconfirmed FL Positives
0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | False Negative Final Results (Suspected) | From reviewing Referral Tests by Person and correspondence with Program Admin
[12 empty] | People | section
2752 | 156 | 130 | 342 | 195 |  | 70 | 142 | 1074 | 369 | 187 | 87 | Number of Unique Individuals Tested | Includes UnknownPerson additions but not ARF tubes
481 | 2 | 19 | 10 | 4 |  | 9 | 51 | 264 | 2 | 103 | 17 | Number of Unique Sponsors | People who collect using the app
[12 empty] | Positivity | section
444 | 1 | 0 | 1 | 0 |  | 9 | 17 | 347 | 14 | 50 | 5 | Number of Unique Individual Tested FloodLAMP Positive | includes Inconclusive FloodLAMP result confirmed Positive by follow-up or Referral
16.13% | 1% | 0% | 0% | 0% |  | 13% | 12% | 32% | 4% | 27% | 6% | % of Population FloodLAMP Positive (excluding pools not deconv)
475 | 1 | 0 | 1 | 0 |  | 12 | 40 | 347 | 14 | 50 | 10 | Number of Unique Individual Tested FloodLAMP Positive (including if in a positive pool)
17.26% | 1% | 0% | 0% | 0% |  | 17% | 28% | 32% | 4% | 27% | 11% | % of Population FloodLAMP Positive (including everyone in a positive pool)
[12 empty] | Dates | section
| 2021-09-28 | 2022-05-02 | 2021-06-28 | 2021-06-14 | 2021-09-01 | 2020-12-11 | 2021-12-24 | 2021-08-31 | 2022-03-20 | 2021-12-10 | 2022-09-05 | Start Run Date
| 2021-12-17 | 2022-10-03 | 2021-07-29 | 2021-06-18 | 2022-03-18 | 2023-01-02 | 2022-05-31 | 2022-03-07 | 2022-08-15 | 2022-05-11 | 2023-06-02 | End Run Date
[12 empty] | Info | section
| Davie Fire and Rescue | Needham Beth Shalom School | Volunteers, Camp Staff | FloodLAMP | Davie Fire and Rescue | FloodLAMP | FloodLAMP | City of Coral Springs | FloodLAMP | Bend Fire and Rescue | Abrome School | Test Operator | Who ran the actual testing (running LAMP reactions)
| Office | Office Space | On Site Room | Hotel Storage Room | Fire Station Office | Biolab, Garage, Office | Garage Dedicated Room | Office Space | Hotel room | Office Space | Office | Test Processing Site | Where the test processing (running LAMP reactions) was done
| TV Production Staff | Students, Staff, Families | Young Adult Campers, Staff | EMS, Conference Attendees | EMS, First Responders, City Staff | Staff, Community | Students, Staff, Families | EMS, First Responders, City Staff | Martial artists, Production Staff | First Responders, Staff | Students, Staff, Families | Population Tested | Description of the participants
| Standard | Standard | Standard | Standard | Standard | Various | Standard | Double Standard | Standard | Double Mini | Mini w water bath | Configuration | Equipment set used for test processing (relates to throughput and type of test tube used)
| Individual | Pooled Household | Pooled | Pooled & Individual | Pooled | Pooled Household, Individual | Pooled Household, Individual | Pooled | Individual | Individual | Pooled Household | Collection Type | Pooled, Individual, or Both
| HCW | Self | HCW | Self | Self | Self | Self | Self | HCW | HCW | Self | Self or HCW Collected | HCW is Health Care Worker
| Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | App Used? | Was the FloodLAMP Mobile App and Admin Portal utilized in the program
| In Person | In Person & Remote | Remote (NSVD) | In Person | In Person | In Person | In Person | In Person | In Person | Remote (NSVD Volunteer) | In Person | Bring-up Type | How the initial setup and validation of the testing site was done
| Rosa | Needham | Kent | FTFC | Davie | FloodLAMP Staff Plus | Carillon | Coral Springs | Combate | Bend | Abrome | Program Name | Shorthand name used internally at FloodLAMP and in other documents for this program
| Production Set / Fire Station | Needham Beth Shalom School | Camp Kenmont | Hard Rock Hotel | Fire Station | MBC Biolabs and Home Garage | Preschool | Municipal Building | Embassy Hotel | Fire Station | Abrome School | Site | Broader physical space where the testing was done and/or where participants congregated
| Production Organization | K-12 School | Youth Camp | Conference | City / EMS | Company | Preschool | City / EMS | Production Organization | Fire Dept / EMS | K-12 School | Site Type | Type of entity or organization receiving the testing program
| Davie, FL | Needham, MA | Kent, CT | Ft. Lauderdale, FL | Davie, FL | San Carlos, CA | Portola Valley, CA | Coral Springs, FL | Miami, FL | Bend, OR | Austin, TX | Location | Geographical location of where the FloodLAMP testing program occurred
|  |  |  | FTFC Eagles - EMS Leadership Conference | [7 empty] | Event

## Pilot Data Google Files - PUB U
Program Name | Acronym | APS GDrive File | RFR GDrive File | RTR GDrive File | RSR GDrive File | Stats and Weekly
Abrome | ABRM | https://docs.google.com/spreadsheets/d/140IAw1sI2nPQztTAXY9-XJxd4lPpOhpeXb-IXXnWUZk/edit?usp=drive_link | https://docs.google.com/spreadsheets/d/1zddUuVUJJRU2gSW45EBK2qlD8uYIW8B5jm-kziiklHU/edit?usp=drive_link | https://docs.google.com/spreadsheets/d/1g_chl4UPvP70E16V_OTjW4KxlFPRvJ7uKc1vB1X15gQ/edit?usp=drive_link | NA | APS
Bend | BEND | https://docs.google.com/spreadsheets/d/1ff9LyHzhq3Mka_W5dEm7cyYWW7cZmOZxW9bUFWjuqIQ/edit?usp=drive_link | https://docs.google.com/spreadsheets/d/1lkoZ0Og6KAdMPD6eBgW3tcs8v4dg6l9-Hjnp8Do__Rg/edit?usp=drive_link | NA | NA | APS
Combate | COMB | https://docs.google.com/spreadsheets/d/1LFbt-1PJ6c9qoDfwMx2pw9f39i21yZvpYWuzSxg0nhk/edit?usp=drive_link | https://docs.google.com/spreadsheets/d/1P_FWpqIBJV0FqluwOZMjMumc6wynKbdR-70WJR03DZc/edit?usp=sharing | https://docs.google.com/spreadsheets/d/1ODszJJPOKDcEBwA3MiMwAH98TVB65cpz6lqisSF1Uqo/edit?usp=drive_link | NA | APS
FloodLAMP | FLMP | https://docs.google.com/spreadsheets/d/1ni39vn-fdXq0HrOgHbim_FK0OZidUv-YBLvzPwhhlFQ/edit?usp=drive_link | https://docs.google.com/spreadsheets/d/16CwPJ9LeknD8lJFTr-gJSx916WZaGEMbN6iKnlVx4dI/edit?usp=drive_link | https://docs.google.com/spreadsheets/d/16R3LlannlrGfiIIJq4T3EWjbtFLZrtPC4gkKycu8RXc/edit?usp=drive_link | NA | APS
Needham | NDHM | https://docs.google.com/spreadsheets/d/19gjZ2g6wjAQfB0WsPoEvDEr3R4sIK6sjT3g2ofL9Qeo/edit?usp=drive_link | https://docs.google.com/spreadsheets/d/1SUcXSa-1wQggm8krA_VdFDp4_FCO_v1Xfrp78ITCjjQ/edit?usp=drive_link | NA | NA | APS
Rosa | ROSA | https://docs.google.com/spreadsheets/d/1pUr7UFD7gL4bUr6uBSe-H4rqQol5CwoGmRylvzEodEc/edit?usp=drive_link | NA - Weekly in APS | NA | https://docs.google.com/spreadsheets/d/12oIWiJjYQ8z--l4YUoXnmq9m-1pF0feO6-mnHIsSdiA/edit?usp=drive_link | APS
Coral Springs | COSP | https://docs.google.com/spreadsheets/d/1LnTBrjaiG5Eg8uDSXU7C4sAcKxiF978MzCWPg-VDtx4/edit?usp=drive_link | NA - Weekly in APS | NA | https://docs.google.com/spreadsheets/d/1H7Dgq-RRdBbd3pMm9Fynb8sPu-mzpb-kdFqzOEUVkZI/edit?usp=drive_link | APS
Davie | DAVI | NA | NA | https://docs.google.com/spreadsheets/d/1gIvvt-IHhGwbIv_mVSF5QEfjbm5WdoSUDe4MW8SSCcA/edit?usp=drive_link | https://docs.google.com/spreadsheets/d/1QslpxtCjyHeau4SIHuLbkjLaLtB7tNrK3jQh96s3bIo/edit?usp=drive_link | RSR
Kent Camp | KENT | NA | NA | NA | NA | https://docs.google.com/spreadsheets/d/1J1Gqc0KAQX_xxiSJ5MR8DVjGzFSfDR-ckCKRNDYmDNQ/edit?usp=drive_link
FTFC Conference | FTFC | NA | NA | NA | NA | https://docs.google.com/spreadsheets/d/17BcQljnvgzdSLB2KzgH0rrUvjOd44f9CfTAL5_9CTS4/edit?usp=drive_link
Carillon | CRLN | same as FLMP | split for summary | tabs in FLMP
FloodLAMP Staff Plus | FLSP | same as FLMP | split for summary | tabs in FLMP

## Pilot Data Google Files - PUB F
Program Name | Acronym | APS GDrive File | RFR GDrive File | RTR GDrive File | RSR GDrive File | Stats and Weekly
Abrome | ABRM | ABRM_APS_deID_PUB | ABRM_RFR_deID_PUB | ABRM_RTR_deID_PUB | NA | APS
Bend | BEND | BEND_APS_deID_PUB | BEND_RFR_deID_PUB | NA | NA | APS
Combate | COMB | COMB_APS_deID_PUB | COMB_RFR_deID_PUB | COMB_RTR_deID_PUB | NA | APS
FloodLAMP | FLMP | FLMP_APS_deID_PUB | FLMP_RFR_deID_PUB | FLMP_RTR_deID_PUB | NA | APS
Needham | NDHM | NDHM_APS_deID_PUB | NDHM_RFR_deID_PUB | NA | NA | APS
Rosa | ROSA | ROSA_APS_deID_PUB | NA - Weekly in APS | NA | ROSA_RSR_deID_PUB | APS
Coral Springs | COSP | COSP_APS_deID_PUB | NA - Weekly in APS | NA | COSP_RSR_deID_PUB | APS
Davie | DAVI | NA | NA | DAVI_RTR_deID_PUB | DAVI_RSR_deID_PUB | RSR
Kent Camp | KENT | NA | NA | NA | NA | KENT_STS_PUB
FTFC Conference | FTFC | NA | NA | NA | NA | FTFC_STS_PUB
Carillon | CRLN | same as FLMP | split for summary | tabs in FLMP
FloodLAMP Staff Plus | FLSP | same as FLMP | split for summary | tabs in FLMP