| PREP - Wipe down all work surfaces, tube racks, and other items used with 10% bleach solution followed by ethanol (as needed) - Label 5mL screw cap vials with 100XIS labels - Safety Procedures: - Work in fume hood - Lab coat, gloves, face mask, and face shield/goggles MAKE 100XIS - Weigh 75.0 g of TCEP - Add TCEP to cleaned and sanitized 1L glass bottle - Add 667.5 mL of NF water to the glass bottle - Cap and swirl bottle to dissolve 75 g of TCEP (do not shake) - Add 209.4 mL EDTA - Add 120 mL NaOH solution - Cap and swirl to mix - Wrap cap with parafilm - Aliquot 5 mL into labeled 5mL screw cap vials - Prime the pump ~2-3 times into a waste container until it dispenses smoothly - Keep the 5mL tube under the dispenser nozzle when withdrawing the plunger to catch drips - Place 100XIS vials into the -20C freezer |  | 100XIS Manuf SOP Form Link |  |
| --- | --- | --- | --- |
|  |  | Location: |  |
|  | Name: |  |  |
|  | Date and Time: |  |  |
|  | Material |  |  |
|  | 5mL screw cap vials (200) LOT#: (Eppendorf |  |  |
|  | TCEP 25 g bottle (3) LOT# (GoldBio TCEP25) EXP: |  |  |
|  | Nuclease-free Water LOT#: (Thermo 10977015) EXP: |  |  |
|  | 0.5M EDTA LOT# (Thermo 15575020) EXP: |  |  |
|  | 10N NaOH LOT# (Sigma SX0607N) EXP: |  |  |
|  | Equipment |  |  |
|  | - 1 L glass bottle with cap - Scale - Graduated cylinder or 50mL volumetric pipet - Bottle top dispenser for 500mL bottle |  |  |
|  | Notes |  |  |