`	``

| PREP - Amp heaters on (Heat indicator lit!) - Calc amount of CLAMP MM needed - 55 µL x # batches = _________ - Use single source tube - If larger run combine MM tubes - Label strip8 tubes - Make 1mL 1XISS (fill out on next pg) |  | Validation 100XIS Form Link |
| --- | --- | --- |
|  |  | Location: |
|  | Name: |  |
|  | Date and Time: |  |

RUN - Get PCR cold block out 10min before - put plate or strip8 tubes in

| PREP - Heaters on (Heat indicator lit!) - 1X Inactivation Saline Soln ready - Reaction mix strip8/plates ready - Safety Procedures: - lab coat - gloves - face mask - face shield or goggles - Alcohol wipe sample tubes |  | Amp Run Sheet Short Any System | version 1.3mod |
| --- | --- | --- | --- |

| AMPLIFICATION REACTION - Thaw Reaction Mix (if frozen) - Setup tips to align with reactions - Add 2μL from each sample tube (pipet up& down 5X, blowout in liquid, tip touch) - Heat 65°C for 25 min, set timer - Intake sample tubes in App - Put sample tubes in fridge - Remove Reactions and Let cool for 1 min before photo - Take photo in lightbox | Amp Heater: |  | Strip8 Tubes or Plates |
| --- | --- | --- | --- |
|  | Reaction Mix: Fresh |  |  |
|  | CLAMP MM Lot and EXP: |  |  |
|  | Num Reactions (including controls): |  |  |
|  | Pos Ctrl ID: TPC50 from TPC_ Ultrapure Water ID: |  |  |
|  | Neg Ctrl ID (today's 1XISS): |  |  |
|  | Initial Inconclusives?: |  |  |
| - Crop photo and apply vivid filter - Update results in App - Log Run with Form link | Notes: |  |  |