*

| Colorimetric LAMP MM - NEB M1804 Lot: EXP (MM-YY): Put New in Use: Location: Name: Date and Time: |  |  |  | Log Link: SOP-102-B_1 {SITE} Name: Date and Time: |  |  |
| --- | --- | --- | --- | --- | --- | --- |

Reaction Mix Prep

- Thaw PGS and CLAMP MM

- Vortex PGS and CLAMP MM for 3s, centrifuge/shake down

- Add CLAMP MM to PGS tube (or new 1.5mL tube for custom amount)

- Vortex for 10s and centrifuge/shake down

- Add 23µL of reaction mix per well   {at bottom, no blowout, no tip touch}

* optional use reservoir and multichannel

- Check volumes (look at pink liquid) by lifting plate or strip tubes out of rack

- Label with Reaction Mix ID

- EXPIRATION of Reaction Mix: 4 weeks after prep or if it becomes discolored.

|  |  |  |  |  | 48 24 16 8 | 550 275 183 92 | 655 328 218 109 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Name | Date + Time | Reaction Mix ID (RM_MMDD-1) | CLAMP MM TubeID (_MMDD-X) | PGS LOT# + EXP | Num Rxns | PGS µL | CLAMP MM µL |

|  |  |  |  |  | 48 24 16 8 | 550 275 183 92 | 655 328 218 109 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Name | Date + Time | Reaction Mix ID (RM_MMDD-1) | CLAMP MM TubeID (_MMDD-X) | PGS LOT# + EXP | Num Rxns | PGS µL | CLAMP MM µL |