| PREP - Heaters on (Heat indicator lit!) - 1X Inactivation Saline Soln ready - Reaction mix strip8/plates ready - Safety Procedures: - lab coat - gloves - face mask - face shield or goggles - Alcohol wipe sample tubes |  | Log Link: SOP-103-B_1 {SITE} |  |
| --- | --- | --- | --- |
|  |  | Location: |  |
|  | Name: |  |  |
|  | Date: Time: |  |  |

| INACTIVATION - Add 1mL of 1X Inactiv Saline Soln to each sample tube - Vortex 10sec (tubes) or 30sec (rack) Water Bath (set 99°C) OR - Heat 8 min then Cool 10 min - Dry Heat Block (set 95°C) - Heat 5 min then Cool 5 min | Sample Batch ID (from App): |  |  |
| --- | --- | --- | --- |
|  | Inactiv Heater: |  |  |
|  | 1X Inactiv Saline Soln ID: |  |  |
|  | Dispense: Pipette or Manual Disp or Electric Disp |  |  |

| AMPLIFICATION REACTION - Thaw Reaction Mix (if frozen) - Setup tips to align with reactions - Add 2μL from each sample tube (pipet up& down 5X, blowout in liquid, tip touch) - Heat 65°C for 25 min, set timer - Intake sample tubes in App - Put sample tubes in fridge - Remove Reactions and Let cool for 1 min before photo - Take photo in lightbox - Crop photo and apply vivid filter - Update results in App - Log Run with Form link | Amp Heater: |  | Strip8 Tubes or Plates |
| --- | --- | --- | --- |
|  | Reaction Mix: Frozen or Fresh |  |  |
|  | Reaction Mix ID: |  |  |
|  | Num Reactions (including controls): |  |  |
|  | Pos Ctrl ID: |  |  |
|  | Neg Ctrl ID (today's 1XISS): |  |  |
|  | Initial Inconclusives?: |  |  |
|  | Notes: |  |  |

Lookup Map

|  | 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
| A 1 |  |  |  |  |  |  |
| B 2 |  |  |  |  |  |  |
| C 3 |  |  |  |  |  |  |
| D 4 |  |  |  |  |  |  |
| E 5 |  |  |  |  |  |  |
| F 6 |  |  |  |  |  |  |
| G 7 |  |  |  |  |  |  |
| H 8 |  |  |  |  |  |  |

|  | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- |
| A 1 |  |  |  |  |  |  |
| B 2 |  |  |  |  |  |  |
| C 3 |  |  |  |  |  |  |
| D 4 |  |  |  |  |  |  |
| E 5 |  |  |  |  |  |  |
| F 6 |  |  |  |  |  |  |
| G 7 |  |  |  |  |  |  |
| H 8 |  |  |  |  |  |  |